{"text_format":"1","workbook":"xlsx","n_sheets":2,"sheets":["日常点検チェックシート","記入例・使用方法"],"not_rendered":{"charts":0,"images":0,"macros":1,"external_links":0,"defined_names":4,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"日常点検チェックシート","index":0,"n_rows":203,"n_cols":18,"rows_kept":203,"cut":false,"hidden":false,"merged":[[4,0,25,0],[18,1,20,1],[18,6,18,10],[18,17,18,18],[19,6,19,10],[19,17,19,18],[20,6,20,10],[20,17,20,18],[18,3,20,3],[0,13,0,18],[0,0,0,3],[0,5,0,6],[0,9,0,10],[0,11,0,12],[2,0,3,3],[2,5,3,5],[2,6,3,10],[2,12,2,13],[2,11,3,11],[2,14,3,16],[2,17,3,18],[2,4,3,4],[1,4,1,10],[9,17,9,18],[10,6,10,10],[10,17,10,18],[11,2,11,3],[11,6,11,10],[11,17,11,18],[5,17,5,18],[6,1,10,1],[6,6,6,10],[6,17,6,18],[7,6,7,10],[7,17,7,18],[8,2,8,3],[8,6,8,10],[8,17,8,18],[4,1,5,1],[4,2,4,3],[4,6,4,10],[4,17,4,18],[5,2,5,3],[5,6,5,10],[9,6,9,10],[4,4,5,4],[6,4,10,4],[12,1,17,1],[12,6,12,10],[12,17,12,18],[13,6,13,10],[13,14,13,16],[13,17,13,18],[14,6,14,10],[14,17,14,18],[15,6,15,10],[12,4,16,4],[15,17,15,18],[16,6,16,10],[16,14,16,16],[16,17,16,18],[17,6,17,10],[12,2,17,2],[12,3,16,3],[25,17,25,18],[26,6,26,10],[26,17,26,18],[27,6,27,10],[27,17,27,18],[28,6,28,10],[28,17,28,18],[18,2,24,2],[17,17,17,18],[18,4,20,4],[21,1,24,1],[21,6,21,10],[21,17,21,18],[22,6,22,10],[22,17,22,18],[23,6,23,10],[23,17,23,18],[24,6,24,10],[24,17,24,18],[21,4,24,4],[50,1,57,1],[33,17,33,18],[34,1,37,1],[34,6,34,10],[34,17,34,18],[35,6,35,10],[35,17,35,18],[36,6,36,10],[36,17,36,18],[37,6,37,10],[29,1,33,1],[29,6,29,10],[29,17,29,18],[37,17,37,18],[30,6,30,10],[46,2,49,3],[46,5,47,5],[46,6,47,10],[25,2,25,3],[25,6,25,10],[42,1,45,1],[42,2,45,3],[42,5,43,5],[42,6,43,10],[38,1,41,1],[38,2,40,3],[38,6,38,10],[38,17,38,18],[39,6,39,10],[39,17,39,18],[40,6,40,10],[30,17,30,18],[31,6,31,10],[31,17,31,18],[32,6,32,10],[32,17,32,18],[33,6,33,10],[37,14,37,16],[42,17,42,18],[43,17,43,18],[44,5,45,5],[44,6,45,10],[44,17,44,18],[45,17,45,18],[40,17,40,18],[41,6,41,10],[41,17,41,18],[46,17,46,18],[47,17,47,18],[48,5,49,5],[48,6,49,10],[48,17,48,18],[49,17,49,18],[56,14,56,16],[68,14,68,16],[50,2,51,3],[50,5,51,5],[50,6,51,10],[50,17,50,18],[51,17,51,18],[52,5,53,5],[52,6,53,10],[52,17,52,18],[53,17,53,18],[54,5,57,5],[54,6,57,10],[54,14,54,16],[54,17,54,18],[55,14,55,16],[58,10,60,10],[58,14,58,16],[55,17,55,18],[56,17,56,18],[57,14,57,16],[57,17,57,18],[58,5,61,5],[58,6,61,9],[74,17,74,18],[75,17,75,18],[66,4,73,4],[74,4,75,4],[69,14,69,16],[69,17,69,18],[62,5,65,5],[62,6,65,9],[62,10,64,10],[62,14,62,16],[63,14,63,16],[64,14,64,16],[65,14,65,16],[70,17,70,18],[71,17,71,18],[72,17,72,18],[66,17,66,18],[67,17,67,18],[66,5,69,5],[66,6,69,10],[76,1,77,1],[76,2,77,3],[76,6,76,10],[73,14,73,16],[74,2,75,3],[74,5,75,5],[74,6,75,10],[70,5,73,5],[70,6,73,10],[70,14,70,16],[71,14,71,16],[72,14,72,16],[66,14,66,16],[67,14,67,16],[58,1,75,1],[59,14,59,16],[60,14,60,16],[61,14,61,16],[68,17,68,18],[73,17,73,18],[76,14,76,16],[76,17,76,18],[77,6,77,10],[77,17,77,18],[78,1,83,1],[78,2,83,3],[78,5,79,5],[78,6,79,10],[78,17,78,18],[79,17,79,18],[80,5,81,5],[80,6,81,10],[80,17,80,18],[81,17,81,18],[82,5,83,5],[82,6,83,10],[82,14,82,16],[82,17,82,18],[83,14,83,16],[83,17,83,18],[76,4,77,4],[78,4,83,4],[84,5,85,5],[84,6,85,10],[84,17,84,18],[85,17,85,18],[86,5,87,5],[90,5,91,5],[90,6,91,10],[90,14,90,16],[90,17,90,18],[91,14,91,16],[91,17,91,18],[86,6,87,10],[86,17,86,18],[87,17,87,18],[88,5,89,5],[88,6,89,10],[88,14,88,16],[88,17,88,18],[89,14,89,16],[89,17,89,18],[96,6,96,10],[96,17,96,18],[97,1,112,1],[97,2,112,3],[97,5,98,5],[97,6,98,10],[97,17,97,18],[98,17,98,18],[99,5,100,5],[99,6,100,10],[99,14,99,16],[99,17,99,18],[100,14,100,16],[100,17,100,18],[101,5,104,5],[101,6,104,10],[101,14,101,16],[101,17,101,18],[102,14,102,16],[102,17,102,18],[103,14,103,16],[103,17,103,18],[104,14,104,16],[92,14,92,16],[92,17,92,18],[93,14,93,16],[94,5,95,5],[94,6,95,10],[94,17,94,18],[95,17,95,18],[92,1,95,1],[92,2,95,3],[92,5,93,5],[92,6,93,10],[93,17,93,18],[104,17,104,18],[105,5,108,5],[105,6,108,10],[105,14,105,16],[105,17,105,18],[106,14,106,16],[106,17,106,18],[107,14,107,16],[107,17,107,18],[108,14,108,16],[108,17,108,18],[109,5,112,5],[109,6,112,10],[109,14,109,16],[109,17,109,18],[110,14,110,16],[110,17,110,18],[111,14,111,16],[111,17,111,18],[112,14,112,16],[112,17,112,18],[113,0,134,0],[113,1,130,1],[113,2,130,3],[113,5,114,5],[113,6,114,10],[117,5,118,5],[117,6,118,10],[119,5,122,5],[119,6,122,10],[127,5,130,5],[127,6,130,10],[113,4,118,4],[119,4,130,4],[131,4,134,4],[131,1,134,1],[131,2,134,3],[131,5,132,5],[131,6,132,10],[117,14,117,16],[117,17,117,18],[118,14,118,16],[118,17,118,18],[113,17,113,18],[114,17,114,18],[115,5,116,5],[115,6,116,10],[115,17,115,18],[116,17,116,18],[119,14,119,16],[119,17,119,18],[120,14,120,16],[120,17,120,18],[121,14,121,16],[121,17,121,18],[122,14,122,16],[122,17,122,18],[123,5,126,5],[123,6,126,10],[123,14,123,16],[123,17,123,18],[124,14,124,16],[124,17,124,18],[125,14,125,16],[125,17,125,18],[126,14,126,16],[126,17,126,18],[131,17,131,18],[132,17,132,18],[133,5,134,5],[133,6,134,10],[133,17,133,18],[127,14,127,16],[127,17,127,18],[128,14,128,16],[128,17,128,18],[129,14,129,16],[129,17,129,18],[130,14,130,16],[130,17,130,18],[134,17,134,18],[142,6,142,10],[142,14,142,16],[142,17,142,18],[143,6,143,10],[143,14,143,16],[143,17,143,18],[144,6,144,10],[144,17,144,18],[142,2,142,3],[143,2,144,3],[135,1,137,1],[135,2,137,3],[135,6,135,10],[135,17,135,18],[136,6,136,10],[136,17,136,18],[137,6,137,10],[139,17,139,18],[140,5,141,5],[140,6,141,10],[140,17,140,18],[141,17,141,18],[137,17,137,18],[138,1,141,1],[138,2,141,3],[138,5,139,5],[138,6,139,10],[138,17,138,18],[146,0,169,0],[146,1,148,1],[146,2,148,3],[146,6,146,10],[149,1,150,1],[149,2,150,3],[149,6,149,10],[149,17,149,18],[150,6,150,10],[150,17,150,18],[146,14,146,16],[146,17,146,18],[147,6,147,10],[152,1,154,1],[152,2,154,3],[152,6,152,10],[152,17,152,18],[153,5,154,5],[153,6,154,10],[153,17,153,18],[154,17,154,18],[163,6,163,10],[168,5,169,5],[168,6,169,10],[145,2,145,3],[145,6,145,10],[145,17,145,18],[158,2,160,3],[158,6,158,10],[158,17,158,18],[159,6,159,10],[159,17,159,18],[162,17,162,18],[147,14,147,16],[147,17,147,18],[148,6,148,10],[148,17,148,18],[151,2,151,3],[151,6,151,10],[151,17,151,18],[160,6,160,10],[160,14,160,16],[160,17,160,18],[155,1,157,1],[155,2,157,3],[155,6,155,10],[155,17,155,18],[156,6,156,10],[156,14,156,16],[156,17,156,18],[161,1,164,1],[161,2,164,3],[161,6,161,10],[161,14,161,16],[161,17,161,18],[162,6,162,10],[157,6,157,10],[157,14,157,16],[157,17,157,18],[158,1,160,1],[171,17,171,18],[172,2,172,3],[172,6,172,10],[167,6,167,10],[167,17,167,18],[163,14,163,16],[163,17,163,18],[164,6,164,10],[164,14,164,16],[164,17,164,18],[168,17,168,18],[169,17,169,18],[183,2,188,3],[183,5,184,5],[183,6,184,10],[183,14,183,16],[183,17,183,18],[165,1,169,1],[165,2,166,3],[165,6,165,10],[165,17,165,18],[166,6,166,10],[166,14,166,16],[166,17,166,18],[167,2,169,3],[173,1,174,1],[173,2,174,3],[173,6,173,10],[173,17,173,18],[174,6,174,10],[174,14,174,16],[174,17,174,18],[170,2,171,3],[170,6,170,10],[170,17,170,18],[171,6,171,10],[175,6,175,10],[175,17,175,18],[176,6,176,10],[176,17,176,18],[178,2,178,3],[178,6,178,10],[178,17,178,18],[177,6,177,10],[177,14,177,16],[177,17,177,18],[182,14,182,16],[182,17,182,18],[172,17,172,18],[187,4,188,4],[189,4,190,4],[183,0,190,0],[183,1,188,1],[180,0,182,0],[180,2,180,3],[180,6,180,10],[180,14,180,16],[180,17,180,18],[181,2,181,3],[181,6,181,10],[181,17,181,18],[182,2,182,3],[182,6,182,10],[189,1,190,1],[189,2,190,3],[179,2,179,3],[179,6,179,10],[179,17,179,18],[175,1,177,1],[175,2,177,3],[191,1,192,1],[191,2,192,3],[191,5,192,5],[191,6,192,10],[191,17,191,18],[191,4,192,4],[193,4,194,4],[170,0,179,0],[170,1,171,1],[189,5,190,5],[189,6,190,10],[189,14,189,16],[184,14,184,16],[184,17,184,18],[185,5,186,5],[185,6,186,10],[185,14,185,16],[185,17,185,18],[186,14,186,16],[186,17,186,18],[187,5,188,5],[187,6,188,10],[187,17,187,18],[188,17,188,18],[195,1,196,1],[195,2,196,3],[195,5,196,5],[195,6,196,10],[193,1,194,1],[193,2,194,3],[193,5,194,5],[193,6,194,10],[193,14,193,16],[194,14,194,16],[202,2,202,3],[202,6,202,10],[202,17,202,18],[199,4,201,4],[198,14,198,16],[198,17,198,18],[199,0,202,0],[199,1,201,1],[199,2,201,3],[199,6,199,10],[199,14,199,16],[199,17,199,18],[200,6,200,10],[197,1,198,1],[197,2,198,3],[197,5,198,5],[197,6,198,10],[197,14,197,16],[197,17,197,18],[200,17,200,18],[201,6,201,10],[201,17,201,18],[195,17,195,18],[196,14,196,16],[196,17,196,18],[189,17,189,18],[190,14,190,16],[190,17,190,18],[195,14,195,16],[192,17,192,18],[193,17,193,18],[194,17,194,18],[191,0,194,0],[195,0,198,0],[135,0,142,0],[143,0,145,0],[58,0,83,0],[135,4,137,4],[138,4,141,4],[197,4,198,4],[165,4,166,4],[168,4,169,4],[170,4,171,4],[173,4,174,4],[175,4,177,4],[183,4,186,4],[146,4,148,4],[149,4,150,4],[153,4,154,4],[155,4,157,4],[158,4,160,4],[161,4,164,4],[195,4,196,4],[143,4,144,4],[92,4,95,4],[97,4,100,4],[101,4,112,4],[38,4,40,4],[42,4,45,4],[46,4,49,4],[50,4,51,4],[52,4,53,4],[54,4,57,4],[58,4,65,4],[26,0,28,0],[26,2,28,2],[29,0,41,0],[29,2,37,2],[52,2,57,3],[58,2,65,3],[42,0,49,0],[50,0,57,0],[84,0,112,0],[96,2,96,3],[84,1,91,1],[84,2,91,3],[84,4,91,4],[66,2,73,3],[41,2,41,3],[46,1,49,1]]}
["日常点検チェックシート",null,null,null,null,"点検年度",null,null,"点検者名",null,null,"施設名称"]
[]
["点検対象部位",null,null,null,"点検\n周期","対象有り","点　　検　　内　　容",null,null,null,null,"点検日","異常",null,"緊急度の評価",null,null,"異常の箇所、状態など"]
[null,null,null,null,null,null,null,null,null,null,null,null,"無","有"]
["建物（外部）",1,"建物の敷地及び",null,"１年",null,"・地盤、舗装に不陸、傾斜、陥没はないか",null,null,null,null,null,null,null,"Ａ","Ｂ","Ｃ"]
[null,null,"地盤面",null,null,null,"・側溝に著しい傾き、損傷、排水不良はないか",null,null,null,null,null,null,null,"Ａ","Ｂ","Ｃ"]
[null,2,null,null,"１年",null,"・門扉に転倒のおそれのある傾き、開閉の不具合はないか",null,null,null,null,null,null,null,"Ａ","Ｂ"]
[null,null,null,null,null,null,"・塀や擁壁に、傾き、ひび割れ、損傷はないか",null,null,null,null,null,null,null,"Ａ","Ｂ","Ｃ"]
[null,null,"外構",null,null,null,"・擁壁表面や目地から、水のしみ出しや土砂の流出がないか",null,null,null,null,null,null,null,"Ａ","Ｂ","Ｃ"]
[null,null,null,null,null,null,"・擁壁の水抜き穴に詰まりが生じていないか",null,null,null,null,null,null,null,"Ａ","Ｂ","Ｃ"]
[null,null,null,null,null,null,"・雨水・汚水会所の排水不良や会所蓋にガタつきはないか",null,null,null,null,null,null,null,"Ａ","Ｂ","Ｃ"]
[null,3,"構造上主要な部分",null,"１年",null,"・柱、梁、壁や床にひび割れ、損傷はないか",null,null,null,null,null,null,null,"Ａ","Ｂ","Ｃ"]
[null,4,"屋根\n屋上","陸屋根","１年",null,"・表面材（防水層）や伸縮目地材にひび割れや浮きはないか",null,null,null,null,null,null,null,"Ａ","Ｂ","Ｃ"]
[null,null,null,null,null,null,"・排水溝やルーフドレン周りにごみや泥が溜まっていないか",null,null,null,null,null,null,null,"速やかに対処"]
[null,null,null,null,null,null,"・パラペット、笠木に、ひび割れや損傷、浮きはないか",null,null,null,null,null,null,null,"Ａ","Ｂ","Ｃ"]
[null,null,null,null,null,null,"・手すりやタラップに腐食やガタつきはないか",null,null,null,null,null,null,null,"Ａ","Ｂ","Ｃ"]
[null,null,null,null,null,null,"・飛散や落下するおそれのあるものはないか",null,null,null,null,null,null,null,"速やかに対処"]
[null,null,null,"トップライト","１年",null,"・雨漏り、ひび割れなどの劣化はないか",null,null,null,null,null,null,null,"Ａ","Ｂ"]
[null,5,"外部","外壁","１年",null,"・外装仕上げ材のひび割れや浮き、剥落はないか",null,null,null,null,null,null,null,"Ａ","Ｂ","Ｃ"]
[null,null,null,null,null,null,"・壁取付金物などの取付不具合はないか",null,null,null,null,null,null,null,"Ａ","Ｂ"]
[null,null,null,null,null,null,"・伸縮目地材（シーリング材）のひび割れ、硬化はないか",null,null,null,null,null,null,null,"Ａ","Ｂ","Ｃ"]
[null,6,null,"軒天井","１年",null,"・軒天井の仕上げが落ちそうなところはないか",null,null,null,null,null,null,null,"Ａ","Ｂ","Ｃ"]
[null,null,null,"庇",null,null,"・庇部に漏水、さび汁の跡はないか",null,null,null,null,null,null,null,"Ａ","Ｂ"]
[null,null,null,"樋",null,null,"・樋や支持金物に損傷やガタつきはないか",null,null,null,null,null,null,null,"Ａ","Ｂ","Ｃ"]
[null,null,null,"バルコニー",null,null,"・手すりに腐食やガタつきはないか",null,null,null,null,null,null,null,"Ａ","Ｂ","Ｃ"]
[null,7,"石綿を含有する可能性のある建材",null,"１年",null,"・外壁仕上塗材等に劣化・損傷はないか",null,null,null,null,null,null,null,"Ａ"]
["建物（内部）",1,"建物内部","天井","１年",null,"・天井材にひび割れ、染み、浮き等はないか",null,null,null,null,null,null,null,"Ａ","Ｂ","Ｃ"]
[null,2,null,"壁","１年",null,"・壁材にひび割れ、浮き、剥れ等はないか",null,null,null,null,null,null,null,"Ａ","Ｂ","Ｃ"]
[null,3,null,"床","１年",null,"・床材にひび割れ、浮き、剥れ等はないか",null,null,null,null,null,null,null,"Ａ","Ｂ","Ｃ"]
["建物（内部）",4,"建物内部","建具","１年",null,"・扉や窓の開閉、鍵に不具合はないか",null,null,null,null,null,null,null,"Ａ","Ｂ","Ｃ"]
[null,null,null,null,null,null,"・ガラスにひび割れ、損傷はないか",null,null,null,null,null,null,null,"Ａ","Ｂ"]
[null,null,null,null,null,null,"・ガラスと建具の枠の間に隙間やガタつきはないか",null,null,null,null,null,null,null,"Ａ","Ｂ"]
[null,null,null,null,null,null,"・建具や枠に変形、損傷、腐食はないか",null,null,null,null,null,null,null,"Ａ","Ｂ","Ｃ"]
[null,null,null,null,null,null,"・自動扉やシャッターの作動は正常か",null,null,null,null,null,null,null,"Ａ","Ｂ"]
[null,5,null,"階段","１年",null,"・床材にひび割れ、浮き、剥れ、段差はないか",null,null,null,null,null,null,null,"Ａ","Ｂ","Ｃ"]
[null,null,null,null,null,null,"・滑り止めのずれ、擦り切れ、破損などはないか",null,null,null,null,null,null,null,"Ａ","Ｂ","Ｃ"]
[null,null,null,null,null,null,"・手すりのガタつき、握り部のささくれなどはないか",null,null,null,null,null,null,null,"Ａ","Ｂ","Ｃ"]
[null,null,null,null,null,null,"・通行の障害になる物品の放置はないか",null,null,null,null,null,null,null,"速やかに対処"]
[null,6,"石綿使用材料飛散防止措置",null,"１年",null,"・囲い込み材のひび割れ、損傷はないか",null,null,null,null,null,null,null,"Ａ"]
[null,null,null,null,null,null,"・封じ込めを行った石綿含有吹付け材等の剥落はないか",null,null,null,null,null,null,null,"Ａ"]
[null,null,null,null,null,null,"・吹付けひる石や折版裏打ち断熱材等の劣化が進んでいないか",null,null,null,null,null,null,null,"Ａ"]
[null,null,"石綿を含有する可能性のある建材",null,"１年",null,"・劣化、損傷がないか",null,null,null,null,null,null,null,"Ａ"]
["空調・換気\n設備",1,"冷却塔\n【場所：　　　　　　　】",null,"６か月",null,"・異臭、異音、異振動はないか",null,null,null,null,null,null,null,"Ａ","Ｂ","Ｃ"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Ａ","Ｂ","Ｃ"]
[null,null,null,null,null,null,"・下部水槽から水があふれ出ていないか",null,null,null,null,null,null,null,"Ａ","Ｂ"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Ａ","Ｂ"]
[null,2,"ポンプ・モーター　　　　　　　　　　　　　（冷温水、冷却水）\n【場所：　　　　　　　】",null,"６か月",null,"・腐食、異音、異振動、漏水はないか",null,null,null,null,null,null,null,"Ａ","Ｂ","Ｃ"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Ａ","Ｂ","Ｃ"]
[null,null,null,null,null,null,"・ポンプ運転中に電流計は大きく振れてはいないか",null,null,null,null,null,null,null,"Ａ","Ｂ"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Ａ","Ｂ"]
["空調・換気\n設備",3,"冷温水発生機\n【場所：　　　　　　　】",null,"６か月",null,"・異音、異臭、異振動、漏水はないか",null,null,null,null,null,null,null,"Ａ","Ｂ","Ｃ"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Ａ","Ｂ","Ｃ"]
[null,null,"冷凍機\n【場所：　　　　　　　】",null,"６か月",null,"・異臭、漏水はないか",null,null,null,null,null,null,null,"Ａ","Ｂ","Ｃ"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Ａ","Ｂ","Ｃ"]
[null,null,null,null,"3か月",null,"・冷媒液面の低下はないか（レシーバ等）",null,null,null,null,null,null,null,"速やかに専門点検"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,"速やかに専門点検"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,"速やかに専門点検"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,"速やかに専門点検"]
["空調・換気\n設備",3,"冷凍機\n【場所：　　　　　　　】",null,"3か月",null,"・冷水出入口温度に異常はないか",null,null,null,"設定温度",null,null,null,"速やかに専門点検",null,null,"温度："]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,"速やかに専門点検",null,null,"温度："]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,"速やかに専門点検",null,null,"温度："]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,"速やかに専門点検",null,null,"温度："]
[null,null,null,null,null,null,"・冷却水出入口温度（水冷式）に異常はないか",null,null,null,"設定温度",null,null,null,"速やかに専門点検",null,null,"温度："]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,"速やかに専門点検",null,null,"温度："]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,"速やかに専門点検",null,null,"温度："]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,"速やかに専門点検",null,null,"温度："]
[null,null,"冷凍機\n【場所：　　　　　　　】",null,"3か月",null,"・異音、異振動はないか",null,null,null,null,null,null,null,"速やかに専門点検"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,"速やかに専門点検"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,"速やかに専門点検"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,"速やかに専門点検"]
[null,null,null,null,null,null,"・サイトグラス（液ラインに気泡が発生していないか）",null,null,null,null,null,null,null,"速やかに専門点検"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,"速やかに専門点検"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,"速やかに専門点検"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,"速やかに専門点検"]
[null,null,"ボイラー\n【場所：　　　　　　　】",null,"６か月",null,"・異音、異臭、異振動、漏水はないか",null,null,null,null,null,null,null,"Ａ","Ｂ","Ｃ"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Ａ","Ｂ","Ｃ"]
[null,4,"ダクト",null,"１年",null,"・吹出口・吸込口をふさいでいる障害物はないか",null,null,null,null,null,null,null,"速やかに対処"]
[null,null,null,null,null,null,"・損傷、腐食、異音、異臭、異振動はないか",null,null,null,null,null,null,null,"Ａ","Ｂ","Ｃ"]
[null,5,"ファンコイルユニット\n【場所：　　　　　　　】",null,"６か月",null,"・空調の効きは正常か、風量は十分に出ているか",null,null,null,null,null,null,null,"Ａ","Ｂ"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Ａ","Ｂ"]
[null,null,null,null,null,null,"・異音、異臭、異振動、漏水はないか",null,null,null,null,null,null,null,"Ａ","Ｂ","Ｃ"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Ａ","Ｂ","Ｃ"]
[null,null,null,null,null,null,"・吹出口・吸込口をふさいでいる障害物はないか",null,null,null,null,null,null,null,"速やかに対処"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,"速やかに対処"]
["空調・換気\n設備\n",6,"空調機\n【場所：　　　　　　　】",null,"６か月",null,"・空調の効きは正常か、風量は十分に出ているか",null,null,null,null,null,null,null,"Ａ","Ｂ"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Ａ","Ｂ"]
[null,null,null,null,null,null,"・異音、異臭、異振動、漏水はないか",null,null,null,null,null,null,null,"Ａ","Ｂ","Ｃ"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Ａ","Ｂ","Ｃ"]
[null,null,null,null,null,null,"・吹出口・吸込口をふさいでいる障害物はないか",null,null,null,null,null,null,null,"速やかに対処"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,"速やかに対処"]
[null,null,null,null,null,null,"・フィルターは目詰まりをしていないか",null,null,null,null,null,null,null,"速やかに対処"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,"速やかに対処"]
[null,7,"機械室",null,"６か月",null,"・機械室に荷物などが置かれ倉庫代わりに使われていないか",null,null,null,null,null,null,null,"速やかに対処"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,"速やかに対処"]
[null,null,null,null,null,null,"・冷温水配管の漏水はないか",null,null,null,null,null,null,null,"Ａ"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Ａ"]
[null,"8","石綿を含有する可能性の\nある保温材や断熱材等\n【場所：　　　　　　　】",null,"１年",null,"・保温材や断熱材（配管エルボ、ボイラー等）などの劣化、損傷はないか",null,null,null,null,null,null,null,"Ａ"]
[null,9,"個別型空調設備\n【場所：　　　　　　　】",null,"６か月",null,"・異臭、漏水はないか",null,null,null,null,null,null,null,"Ａ","Ｂ","Ｃ"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Ａ","Ｂ","Ｃ"]
[null,null,null,null,null,null,"・室外機のフィンが目詰りしていないか",null,null,null,null,null,null,null,"速やかに対処"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,"速やかに対処"]
[null,null,null,null,"3か月",null,"・室外機周りに油のにじみはないか",null,null,null,null,null,null,null,"速やかに専門点検"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,"速やかに専門点検"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,"速やかに専門点検"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,"速やかに専門点検"]
[null,null,null,null,null,null,"・室外機に異音、異振動はないか",null,null,null,null,null,null,null,"速やかに専門点検"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,"速やかに専門点検"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,"速やかに専門点検"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,"速やかに専門点検"]
[null,null,null,null,null,null,"・熱交換器に腐食、錆びやキズなどはないか",null,null,null,null,null,null,null,"速やかに専門点検"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,"速やかに専門点検"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,"速やかに専門点検"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,"速やかに専門点検"]
["空調・換気\n設備",10,"個別型空調設備\n【場所：　　　　　　　】",null,"６か月",null,"・空調の効きは正常か、風量は十分に出ているか",null,null,null,null,null,null,null,"Ａ","Ｂ"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Ａ","Ｂ"]
[null,null,null,null,null,null,"・室内機周辺の天井に染みはないか",null,null,null,null,null,null,null,"Ａ"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Ａ"]
[null,null,null,null,null,null,"・吹出口・吸込口をふさいでいる障害物はないか",null,null,null,null,null,null,null,"速やかに対処"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,"速やかに対処"]
[null,null,null,null,"3か月",null,"・室内機の熱交換器に霜が付着していないか",null,null,null,null,null,null,null,"速やかに専門点検"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,"速やかに専門点検"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,"速やかに専門点検"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,"速やかに専門点検"]
[null,null,null,null,null,null,"・室内機の熱交換器や配管に油のにじみはないか",null,null,null,null,null,null,null,"速やかに専門点検"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,"速やかに専門点検"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,"速やかに専門点検"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,"速やかに専門点検"]
[null,null,null,null,null,null,"・室内機に異音、異振動はないか",null,null,null,null,null,null,null,"速やかに専門点検"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,"速やかに専門点検"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,"速やかに専門点検"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,"速やかに専門点検"]
[null,11,"換気設備\n【場所：　　　　　　　】",null,"６か月",null,"・異音、異臭、異振動はないか",null,null,null,null,null,null,null,"Ａ","Ｂ","Ｃ"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Ａ","Ｂ","Ｃ"]
[null,null,null,null,null,null,"・作動しない有圧換気扇や天井換気扇はないか",null,null,null,null,null,null,null,"Ａ","Ｂ"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Ａ","Ｂ"]
["給水・衛生\n設備",1,"受水槽など\n【場所：　　　　　　　】",null,"１年",null,"・損傷、腐食、本体からの漏水はないか",null,null,null,null,null,null,null,"Ａ","Ｂ","Ｃ"]
[null,null,null,null,null,null,"・オーバーフロー管から水が出ていないか、通気管の防虫網が破れていないか",null,null,null,null,null,null,null,"Ａ","Ｂ"]
[null,null,null,null,null,null,"・屋内受水槽の設置場所に虫等の生息はないか",null,null,null,null,null,null,null,"Ａ","Ｂ"]
[null,2,"給排水ポンプ\n・モーター\n【場所：　　　　　　　】",null,"６か月",null,"・腐食、漏水、異音、異臭、異振動はないか",null,null,null,null,null,null,null,"Ａ","Ｂ","Ｃ"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Ａ","Ｂ","Ｃ"]
[null,null,null,null,null,null,"・ポンプ運転中に電流計は大きく振れてはいないか",null,null,null,null,null,null,null,"Ａ","Ｂ"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Ａ","Ｂ"]
[null,3,"給排水管類",null,"１年",null,"・通気口はふさがってないか",null,null,null,null,null,null,null,"速やかに対処"]
["給水・衛生\n設備",4,"給排水管類",null,"１年",null,"・トラップや配管からの異臭はないか",null,null,null,null,null,null,null,"速やかに対処"]
[null,5,null,null,null,null,"・配管の腐食、漏水はないか",null,null,null,null,null,null,null,"Ａ","Ｂ","Ｃ"]
[null,"6","石綿を含有する可能性の\nある保温材\n【場所：　　　　　　　】",null,"１年",null,"・保温材（配管エルボ等）の劣化、損傷はないか",null,null,null,null,null,null,null,"Ａ"]
["電気設備",1,"受変電設備　　　　　　　　　　　　　　　　\n【場所：　　　　　　　】",null,"１年",null,"・扉、フェンスの施錠はされているか",null,null,null,null,null,null,null,"速やかに対処"]
[null,null,null,null,null,null,"・倉庫として使用されていないか",null,null,null,null,null,null,null,"速やかに対処"]
[null,null,null,null,null,null,"・損傷、腐食、異常音、異臭はないか",null,null,null,null,null,null,null,"Ａ","Ｂ","Ｃ"]
[null,2,"高圧引込\n（電柱、開閉器、配線）\n【場所：　　　　　　　】　　　　　　　　　　　　　　　　　　　　　　",null,"１年",null,"・損傷、腐食はないか",null,null,null,null,null,null,null,"Ａ","Ｂ","Ｃ"]
[null,null,null,null,null,null,"・樹木の接近はないか",null,null,null,null,null,null,null,"Ａ"]
[null,3,"非常用発電機",null,"１年",null,"・損傷、腐食はないか",null,null,null,null,null,null,null,"Ａ","Ｂ","Ｃ"]
[null,4,"直流電源装置\n【場所：　　　　　　　】",null,"１年",null,"・蓄電池に損傷、腐食はないか",null,null,null,null,null,null,null,"Ａ","Ｂ"]
[null,null,null,null,"６か月",null,"・蓄電池の交換時期は過ぎていないか",null,null,null,null,null,null,null,"Ａ","Ｂ"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Ａ","Ｂ"]
[null,5,"分電盤　　　　　　　　　　　　　　　　　　　　　　　　　　　　　　（分電盤、動力盤、端子盤）",null,"１年",null,"・損傷、腐食はないか",null,null,null,null,null,null,null,"Ａ","Ｂ","Ｃ"]
[null,null,null,null,null,null,"・施錠はされているか",null,null,null,null,null,null,null,"速やかに対処"]
[null,null,null,null,null,null,"・物で隠れたりしていないか",null,null,null,null,null,null,null,"速やかに対処"]
[null,6,"照明器具",null,"１年",null,"・損傷、腐食はないか",null,null,null,null,null,null,null,"Ａ","Ｂ","Ｃ"]
[null,null,null,null,null,null,"・脱落の恐れはないか",null,null,null,null,null,null,null,"Ａ"]
[null,null,null,null,null,null,"・ちらつきや点灯していないものはないか",null,null,null,null,null,null,null,"速やかに対処"]
[null,7,"コンセント",null,"１年",null,"・たこ足配線していないか",null,null,null,null,null,null,null,"速やかに対処"]
[null,null,null,null,null,null,"・損傷、変色、ほこりはないか",null,null,null,null,null,null,null,"Ａ"]
[null,null,null,null,null,null,"・プラグのぐらつきはないか",null,null,null,null,null,null,null,"速やかに対処"]
[null,null,null,null,null,null,"・アース未接続はないか",null,null,null,null,null,null,null,"速やかに対処"]
[null,8,"電話交換機\n【場所：　　　　　　　】",null,"１年",null,"・通話時に雑音はないか",null,null,null,null,null,null,null,"Ａ","Ｂ"]
[null,null,null,null,null,null,"・換気口の前に物はないか",null,null,null,null,null,null,null,"速やかに対処"]
[null,null,"中央監視装置　　　　　　　　　　　　　　　　　　（警報盤）\n【場所：　　　　　　　】",null,"１年",null,"・表示部の不具合はないか",null,null,null,null,null,null,null,"Ａ","Ｂ"]
[null,null,null,null,"６か月",null,"・蓄電池の交換時期は過ぎていないか",null,null,null,null,null,null,null,"Ａ","Ｂ"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Ａ","Ｂ"]
["電気設備\n",9,"トイレ等呼出装置\n【場所：　　　　　　　】",null,"１年",null,"・正常に作動するか",null,null,null,null,null,null,null,"Ａ"]
[null,null,null,null,null,null,"・損傷、変形はないか",null,null,null,null,null,null,null,"Ａ","Ｂ"]
[null,10,"放送設備",null,"１年",null,"・スピーカーから雑音が発生するなどの異常はないか",null,null,null,null,null,null,null,"Ａ","Ｂ"]
[null,11,"外灯　　　　　　　　　　　　　　　　　　　　　　　　　　　　　　　　　　　　　（ポール灯、庭園灯）",null,"１年",null,"・損傷、腐食はないか",null,null,null,null,null,null,null,"Ａ","Ｂ","Ｃ"]
[null,null,null,null,null,null,"・ちらつきや点灯していないものはないか",null,null,null,null,null,null,null,"速やかに対処"]
[null,12,"太陽光発電\n【場所：　　　　　　　】",null,"１年",null,"・発電状況（発電しているか）",null,null,null,null,null,null,null,"Ａ"]
[null,null,null,null,null,null,"・太陽光パネルや架台に損傷、腐食はないか",null,null,null,null,null,null,null,"Ａ","Ｂ","Ｃ"]
[null,null,null,null,null,null,"・パワーコンデショナーの換気口に目詰まりはないか",null,null,null,null,null,null,null,"速やかに対処"]
[null,13,"テレビアンテナ\n【場所：　　　　　　　】　　　　　　　　　　　　　　　　　　　　　　　",null,"１年",null,"・アンテナや支持金物に損傷、腐食、脱落の恐れはないか",null,null,null,null,null,null,null,"Ａ","Ｂ","Ｃ"]
[null,14,"避雷針\n【場所：　　　　　　　】",null,"１年",null,"・避雷針や支持金物、導線に損傷、腐食、脱落の恐れはないか",null,null,null,null,null,null,null,"Ａ","Ｂ","Ｃ"]
["ガス設備",1,"ガス漏れ警報器\n【場所：　　　　　　　】",null,"１年",null,"・有効期限は切れていないか",null,null,null,null,null,null,null,"速やかに対処"]
[null,2,"換気扇\n【場所：　　　　　　　】",null,"１年",null,"・ガス機器周辺の換気扇は正常に動くか",null,null,null,null,null,null,null,"Ａ"]
[null,3,"給気口\n【場所：　　　　　　　】",null,"１年",null,"・ガス機器使用室の扉にある給気口や天井の吹出口はふさがれていないか",null,null,null,null,null,null,null,"速やかに対処"]
["防災設備",1,"自動火災報知　　　　　　設備受信機\n【場所：　　　　　　　】",null,"６か月",null,"・受信機の電源は入っているか",null,null,null,null,null,null,null,"速やかに対処"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,"速やかに対処"]
[null,null,null,null,null,null,"・異常ランプは点灯していないか",null,null,null,null,null,null,null,"速やかに対処"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,"速やかに対処"]
[null,null,null,null,"６か月",null,"・蓄電池の交換時期は過ぎていないか",null,null,null,null,null,null,null,"Ａ","Ｂ"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Ａ","Ｂ"]
[null,2,"防火戸\n防火シャッター",null,"６か月",null,"・閉鎖に障害となる物を置いていないか",null,null,null,null,null,null,null,"速やかに対処"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,"速やかに対処"]
["防災設備",3,"排煙口開放装置",null,"６か月",null,"・装置の不具合はないか",null,null,null,null,null,null,null,"Ａ","Ｂ","Ｃ"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Ａ","Ｂ","Ｃ"]
[null,4,"消火栓・避難器具",null,"６か月",null,"・使用に障害となるものが置かれていないか",null,null,null,null,null,null,null,"速やかに対処"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,"速やかに対処"]
["防災設備",5,"誘導灯",null,"６か月",null,"・誘導灯は常に点灯しているか",null,null,null,null,null,null,null,"速やかに対処"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,"速やかに対処"]
[null,6,"消火器",null,"６か月",null,"・所定の場所に置かれているか",null,null,null,null,null,null,null,"速やかに対処"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,"速やかに対処"]
["昇降設備",1,"エレベーター",null,"１年",null,"・エレベーター機械室は施錠されているか",null,null,null,null,null,null,null,"速やかに対処"]
[null,null,null,null,null,null,"・扉の開閉に異常はないか",null,null,null,null,null,null,null,"Ａ"]
[null,null,null,null,null,null,"・異音、振動、着床段差等はないか",null,null,null,null,null,null,null,"Ａ","Ｂ"]
[null,2,"エスカレーター",null,"１年",null,"・異音、振動等はないか",null,null,null,null,null,null,null,"Ａ","Ｂ"]

{"sheet":"記入例・使用方法","index":1,"n_rows":26,"n_cols":18,"rows_kept":26,"cut":false,"hidden":false,"merged":[[25,2,25,3],[25,6,25,10],[25,17,25,18],[21,1,24,1],[21,4,24,4],[21,6,21,10],[21,17,21,18],[22,6,22,10],[22,17,22,18],[23,6,23,10],[23,17,23,18],[24,6,24,10],[24,17,24,18],[18,1,20,1],[18,4,20,4],[18,6,18,10],[18,17,18,18],[19,6,19,10],[19,17,19,18],[20,6,20,10],[20,17,20,18],[11,17,11,18],[17,6,17,10],[17,17,17,18],[12,17,12,18],[13,6,13,10],[13,14,13,16],[13,17,13,18],[14,6,14,10],[14,17,14,18],[15,6,15,10],[15,17,15,18],[16,6,16,10],[16,14,16,16],[16,17,16,18],[12,1,17,1],[12,4,16,4],[12,6,12,10],[7,6,7,10],[10,6,10,10],[11,2,11,3],[11,6,11,10],[5,2,5,3],[5,6,5,10],[5,17,5,18],[6,1,10,1],[6,4,10,4],[6,6,6,10],[6,17,6,18],[7,17,7,18],[8,2,8,3],[8,6,8,10],[8,17,8,18],[9,6,9,10],[9,17,9,18],[10,17,10,18],[2,4,3,4],[2,5,3,5],[2,6,3,10],[2,11,3,11],[4,17,4,18],[93,17,93,18],[1,4,1,10],[0,0,0,3],[0,5,0,6],[0,9,0,10],[0,11,0,12],[0,13,0,18],[2,12,2,13],[2,14,3,16],[2,17,3,18],[4,0,25,0],[4,1,5,1],[4,2,4,3],[4,4,5,4],[4,6,4,10],[2,0,3,3]]}
["日常点検チェックシート",null,null,null,null,"点検年度",null,"令和5年度","点検者名","大阪太郎",null,"施設名称",null,"〇〇〇〇〇〇"]
[]
["点検対象部位",null,null,null,"点検\n周期","対象有り","点　　検　　内　　容",null,null,null,null,"点検日","異常",null,"緊急度の評価",null,null,"異常の箇所、状態など"]
[null,null,null,null,null,null,null,null,null,null,null,null,"無","有"]
["建物（外部）",1,"建物の敷地及び",null,"１年",null,"・地盤、舗装に不陸、傾斜、陥没はないか",null,null,null,null,"2024-02-26",null,null,"Ａ","Ｂ","Ｃ"]
[null,null,"地盤面",null,null,null,"・側溝に著しい傾き、損傷、排水不良はないか",null,null,null,null,"2024-02-26",null,null,"Ａ","Ｂ","Ｃ","側溝が著しく傾いている"]
[null,2,null,null,"１年",null,"・門扉に転倒のおそれのある傾き、開閉の不具合はないか",null,null,null,null,"2024-02-26",null,null,"Ａ","Ｂ"]
[null,null,null,null,null,null,"・塀や擁壁に、傾き、ひび割れ、損傷はないか",null,null,null,null,"2024-02-26",null,null,"Ａ","Ｂ","Ｃ"]
[null,null,"外構",null,null,null,"・擁壁表面や目地から、水のしみ出しや土砂の流出がないか",null,null,null,null,"2024-02-26",null,null,"Ａ","Ｂ","Ｃ"]
[null,null,null,null,null,null,"・擁壁の水抜き穴に詰まりが生じていないか",null,null,null,null,"2024-02-26",null,null,"Ａ","Ｂ","Ｃ"]
[null,null,null,null,null,null,"・雨水・汚水会所の排水不良や会所蓋にガタつきはないか",null,null,null,null,"2024-02-26",null,null,"Ａ","Ｂ","Ｃ"]
[null,3,"構造上主要な部分",null,"１年",null,"・柱、梁、壁や床にひび割れ、損傷はないか",null,null,null,null,"2024-02-26",null,null,"Ａ","Ｂ","Ｃ"]
[null,4,"屋根","陸屋根","１年",null,"・表面材（防水層）や伸縮目地材にひび割れや浮きはないか",null,null,null,null,"2024-02-26",null,null,"Ａ","Ｂ","Ｃ","床にひび割れがある"]
[null,null,"屋上",null,null,null,"・排水溝やルーフドレン周りにごみや泥が溜まっていないか",null,null,null,null,"2024-02-26",null,null,"速やかに対処",null,null,"ルーフドレンが詰まっている"]
[null,null,null,null,null,null,"・パラペット、笠木に、ひび割れや損傷、浮きはないか",null,null,null,null,"2024-02-26",null,null,"Ａ","Ｂ","Ｃ"]
[null,null,null,null,null,null,"・手すりやタラップに腐食やガタつきはないか",null,null,null,null,"2024-02-26",null,null,"Ａ","Ｂ","Ｃ"]
[null,null,null,null,null,null,"・飛散や落下するおそれのあるものはないか",null,null,null,null,"2024-02-26",null,null,"速やかに対処"]
[null,null,null,"トップライト","１年",null,"・雨漏り、ひび割れなどの劣化はないか",null,null,null,null,"2024-02-26",null,null,"Ａ","Ｂ"]
[null,5,null,"外壁","１年",null,"・外装仕上げ材のひび割れや浮き、剥落はないか",null,null,null,null,"2024-02-26",null,null,"Ａ","Ｂ","Ｃ"]
[null,null,null,null,null,null,"・壁取付金物などの取付不具合はないか",null,null,null,null,"2024-02-26",null,null,"Ａ","Ｂ"]
[null,null,null,null,null,null,"・伸縮目地材（シーリング材）のひび割れ、硬化はないか",null,null,null,null,"2024-02-26",null,null,"Ａ","Ｂ","Ｃ"]
[null,6,"外部","軒天井","１年",null,"・軒天井の仕上げが落ちそうなところはないか",null,null,null,null,"2024-02-26",null,null,"Ａ","Ｂ","Ｃ"]
[null,null,null,"庇",null,null,"・庇部に漏水、さび汁の跡はないか",null,null,null,null,"2024-02-26",null,null,"Ａ","Ｂ"]
[null,null,null,"樋",null,null,"・樋や支持金物に損傷やガタつきはないか",null,null,null,null,"2024-02-26",null,null,"Ａ","Ｂ","Ｃ"]
[null,null,null,"バルコニー",null,null,"・手すりに腐食やガタつきはないか",null,null,null,null,"2024-02-26",null,null,"Ａ","Ｂ","Ｃ"]
[null,7,"石綿を含有する可能性のある建材",null,"１年",null,"・外壁仕上塗材等に劣化・損傷はないか",null,null,null,null,"2024-02-26",null,null,"Ａ"]